## PAT Test Report
PORTABLE APPLIANCE TESTING REPORT
[6 empty] | REPORT NO.: |  | 2016113
[6 empty] | DATE: |  | 2016-10-06
| APPLIANCE DESCRIPTION |  |  | VISUAL | TEST |  | Functional | DATE OF | PASS | COMMENTS
ID NO. |  | APPLIANCE LOCATION | CLASS | INSPECT | EARTH | INSULATION | Check | NEXT TEST | or
[5 empty] | Ohms | Mohms |  |  | FAIL
69 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
70 | EXT LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
71 | EXT LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
72 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
73 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
74 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
75 | LAPTOP CHARGER | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
76 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
77 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
78 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
79 | EXT LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
80 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
81 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
82 | EXT LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
83 | WORK BENCH | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
84 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
85 | LAPTOP CHARGER | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
86 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
87 | WORK BENCH | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
88 | LAPTOP CHARGER | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
89 | LAPTOP CHARGER | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
90 | WORK BENCH | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
91 | LAPTOP CHARGER | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
92 | LAPTOP CHARGER | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
93 | KETTLE LEAD | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
94 | PORTABLE HEATER | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
95 | BLOW HEATER | HYDROGEN RND ROOM | [5 empty] | 06/10/2017 | Pass
96 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
97 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
98 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
99 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
100 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
101 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
102 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
103 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
104 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
105 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
106 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
107 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
108 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
109 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
110 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
111 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
112 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
113 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
114 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
115 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
116 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
117 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
118 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
119 | LAPTOP CHARGER | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
120 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
121 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
122 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
123 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
124 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
125 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
126 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
127 | 110 TRANSFORMER | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
128 | 110 TRANSFORMER | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
129 | 110 TRANSFORMER | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
130 | 110 TRANSFORMER | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
131 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
132 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
133 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
134 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
135 | MONITOR | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
136 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
TEST ENGINEER NAME: GES Electrical Ltd
Peak Scientific Instruments Ltd
Fountain Crescent, Inchinnan Business Park, Renfrew
PA4 9RE
GES Electrical Ltd
42 Victoria Road
Gourock
PA19 1DB
Tel/Fax: 01475 713462