## PAT Test Report
PORTABLE APPLIANCE TESTING REPORT
[6 empty] | REPORT NO.: |  | 2016113
[6 empty] | DATE: |  | 2016-10-06
| APPLIANCE DESCRIPTION |  |  | VISUAL | TEST |  | Functional | DATE OF | PASS | COMMENTS
ID NO. |  | APPLIANCE LOCATION | CLASS | INSPECT | EARTH | INSULATION | Check | NEXT TEST | or
[5 empty] | Ohms | Mohms |  |  | FAIL
689 | KETTLE LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
690 | DESK FAN | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
691 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
692 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
693 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
694 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
695 | KETTLE LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
696 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
697 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
698 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
699 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
700 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
701 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
702 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
703 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
704 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
705 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
706 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
707 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
708 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
709 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
710 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
711 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
712 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
713 | KETTLE LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
714 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
715 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
716 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
717 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
718 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
719 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
720 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
721 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
722 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
723 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
724 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
725 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
726 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
727 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
728 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
729 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
730 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
731 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
732 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
733 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
734 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
735 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
736 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
737 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
738 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
739 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
740 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
741 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
742 | HEATER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
743 | KETTLE LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
744 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
745 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
746 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
747 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
748 | KETTLE LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
749 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
750 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
751 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
752 | PRINTER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
753 | KETTLE LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
754 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
755 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
756 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
TEST ENGINEER NAME: GES Electrical Ltd
Peak Scientific Instruments Ltd
Fountain Crescent, Inchinnan Business Park, Renfrew
PA4 9RE
GES Electrical Ltd
42 Victoria Road
Gourock
PA19 1DB
Tel/Fax: 01475 713462