## PAT Test Report
PORTABLE APPLIANCE TESTING REPORT
[6 empty] | REPORT NO.: |  | 2016113
[6 empty] | DATE: |  | 2016-10-06
| APPLIANCE DESCRIPTION |  |  | VISUAL | TEST |  | Functional | DATE OF | PASS | COMMENTS
ID NO. |  | APPLIANCE LOCATION | CLASS | INSPECT | EARTH | INSULATION | Check | NEXT TEST | or
[5 empty] | Ohms | Mohms |  |  | FAIL
139 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
140 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
141 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
142 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
143 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
144 | EXT LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
145 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
146 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
147 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
148 | LAPTOP CHARGER | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
149 | KETTLE LEAD | PRODUCTION TEST RM | [5 empty] | 06/10/2017 | Pass
150 | KETTLE LEAD | SERVICE BAY | [5 empty] | 06/10/2017 | Pass
151 | KETTLE LEAD | SERVICE BAY | [5 empty] | 06/10/2017 | Pass
152 | PC MONITOR | SERVICE BAY | [5 empty] | 06/10/2017 | Pass
153 | PC | SERVICE BAY | [5 empty] | 06/10/2017 | Pass
154 | EXT LEAD | OUTSIDE SERVICE BAY | [5 empty] | 06/10/2017 | Pass
155 | PC | OUTSIDE SERVICE BAY | [5 empty] | 06/10/2017 | Pass
156 | MONITOR | OUTSIDE SERVICE BAY | [5 empty] | 06/10/2017 | Pass
157 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
158 | BENCH LIGHTING | PRODUCTION | [5 empty] | 06/10/2017 | Pass
159 | 110V TRANSFORMER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
160 | KETTLE LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
161 | KETTLE LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
162 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
163 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
164 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
165 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
166 | DESK FAN | PRODUCTION | [5 empty] | 06/10/2017 | Pass
167 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
168 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
169 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
170 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
171 | FAN | PRODUCTION | [5 empty] | 06/10/2017 | Pass
172 | KETTLE LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
173 | KETTLE LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
174 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
175 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
176 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
177 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
178 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
179 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
180 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
181 | CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
182 | FAN | PRODUCTION | [5 empty] | 06/10/2017 | Pass
183 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
184 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
185 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
186 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
187 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
188 | 24V CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
189 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
190 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
191 | PHOTO COPIER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
192 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
193 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
194 | FAN | [6 empty] | 06/10/2017 | Pass
195 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
196 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
197 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
198 | SOLDERING IRON | PRODUCTION | [5 empty] | 06/10/2017 | Pass
199 | KETTLE LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
200 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
201 | FAN | PRODUCTION | [5 empty] | 06/10/2017 | Pass
202 | FUME ABRORBER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
203 | PLC CONTROLLER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
204 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
205 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
206 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
207 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
TEST ENGINEER NAME: GES Electrical Ltd
Peak Scientific Instruments Ltd
Fountain Crescent, Inchinnan Business Park, Renfrew
PA4 9RE
GES Electrical Ltd
42 Victoria Road
Gourock
PA19 1DB
Tel/Fax: 01475 713462