## PAT Test Report
PORTABLE APPLIANCE TESTING REPORT
[6 empty] | REPORT NO.: |  | 2016113
[6 empty] | DATE: |  | 2016-10-06
| APPLIANCE DESCRIPTION |  |  | VISUAL | TEST |  | Functional | DATE OF | PASS | COMMENTS
ID NO. |  | APPLIANCE LOCATION | CLASS | INSPECT | EARTH | INSULATION | Check | NEXT TEST | or
[5 empty] | Ohms | Mohms |  |  | FAIL
486 | PC | RECEPTION | [5 empty] | 06/10/2017 | Pass
487 | MONITOR | RECEPTION | [5 empty] | 06/10/2017 | Pass
488 | DISC COPIER | RECEPTION | [5 empty] | 06/10/2017 | Pass
489 | WATER COOLER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
490 | PRINTER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
491 | LAPTOP CHARGER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
492 | LAPTOP CHARGER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
493 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
494 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
495 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
496 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
497 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
498 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
499 | 12V CHARGER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
500 | 12V CHARGER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
501 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
502 | KETTLE LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
503 | 12V CHARGER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
504 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
505 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
506 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
507 | DESK FAN | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
508 | 12V CHARGER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
509 | 12V CHARGER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
510 | 12V CHARGER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
511 | DESK FAN | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
512 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
513 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
514 | KETTLE LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
515 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
516 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
517 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
518 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
519 | LABEL PRINTER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
520 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
521 | DOCKING STATION | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
522 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
523 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
524 | KETTLE LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
525 | KETTLE LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
526 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
527 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
528 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
529 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
530 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
531 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
532 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
533 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
534 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
535 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
536 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
537 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
538 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
539 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
540 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
541 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
542 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
543 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
544 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
545 | DOCKING STATION | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
546 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
547 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
548 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
549 | KETTLE LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
550 | MONITOR | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
551 | PC | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
552 | 12V CHARGER | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
553 | EXT LEAD | GENERAL OFFICE | [5 empty] | 06/10/2017 | Pass
554
TEST ENGINEER NAME: GES Electrical Ltd
Peak Scientific Instruments Ltd
Fountain Crescent, Inchinnan Business Park, Renfrew
PA4 9RE
GES Electrical Ltd
42 Victoria Road
Gourock
PA19 1DB
Tel/Fax: 01475 713462