## PAT Test Report
PORTABLE APPLIANCE TESTING REPORT
[6 empty] | REPORT NO.: |  | 2016113
[6 empty] | DATE: |  | 2016-10-06
| APPLIANCE DESCRIPTION |  |  | VISUAL | TEST |  | Functional | DATE OF | PASS | COMMENTS
ID NO. |  | APPLIANCE LOCATION | CLASS | INSPECT | EARTH | INSULATION | Check | NEXT TEST | or
[5 empty] | Ohms | Mohms |  |  | FAIL
824 | EXT LEAD | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
825 | COFFEE MACHINE | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
826 | SHREDDER | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
827 | HEATER | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
828 | 12V CHARGER | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
829 | 12V CHARGER | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
830 | EXT LEAD | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
831 | 12V CHARGER | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
832 | 12V CHARGER | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
833 | 12V CHARGER | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
834 | EXT LEAD | MD OFFICE | [5 empty] | 06/10/2017 | Pass
835 | MONITOR | MD OFFICE | [5 empty] | 06/10/2017 | Pass
836 | 12V CHARGER | MD OFFICE | [5 empty] | 06/10/2017 | Pass
837 | TV | IT DEPT | [5 empty] | 06/10/2017 | Pass
838 | KETTLE LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
839 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
840 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
841 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
842 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
843 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
844 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
845 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
846 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
847 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
848 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
849 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
850 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
851 | DOCKING STATION | IT DEPT | [5 empty] | 06/10/2017 | Pass
852 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
853 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
854 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
855 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
856 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
857 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
858 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
859 | PRINTER | IT DEPT | [5 empty] | 06/10/2017 | Pass
860 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
861 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
862 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
863 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
864 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
865 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
866 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
867 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
868 | EXT LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
869 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
870 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
871 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
872 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
873 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
874 | FAN | IT DEPT | [5 empty] | 06/10/2017 | Pass
875 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
876 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
877 | DOCKING STATION | IT DEPT | [5 empty] | 06/10/2017 | Pass
878 | 12V CHARGER | IT DEPT | [5 empty] | 06/10/2017 | Pass
879 | KETTLE LEAD | IT DEPT | [5 empty] | 06/10/2017 | Pass
880 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
881 | DOCKING STATION | IT DEPT | [5 empty] | 06/10/2017 | Pass
882 | DOCKING STATION | IT DEPT | [5 empty] | 06/10/2017 | Pass
883 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
884 | MONITOR | IT DEPT | [5 empty] | 06/10/2017 | Pass
885 | FAN | BUTE OFFICE | [5 empty] | 06/10/2017 | Pass
886 | KETTLE LEAD | BUTE OFFICE | [5 empty] | 06/10/2017 | Pass
887 | KETTLE LEAD | BUTE OFFICE | [5 empty] | 06/10/2017 | Pass
888 | KETTLE LEAD | ARRAN | [5 empty] | 06/10/2017 | Pass
889 | KETTLE LEAD | ARRAN | [5 empty] | 06/10/2017 | Pass
890 | HEAT GUN | HYDROGEN | [5 empty] | 06/10/2017 | Pass
891 | LAPTOP CHARGER | HYDROGEN | [5 empty] | 06/10/2017 | Pass
TEST ENGINEER NAME: GES Electrical Ltd
Peak Scientific Instruments Ltd
Fountain Crescent, Inchinnan Business Park, Renfrew
PA4 9RE
GES Electrical Ltd
42 Victoria Road
Gourock
PA19 1DB
Tel/Fax: 01475 713462