- O & M MANUAL

Stills Pharmacy – New Chemist Development

Ref - GES157

GES ELECTRICAL LTD

Unit 1 Empress Court

St Andrew Street

Greenock

PA15 4RW

Tel/Fax 01475 713462

##### I N D E X

D E S C R I P T I O N					S E C T I O N  No.

Introduction							1

Warning Notes							2

Operating Instruction						3

Servicing								4

Light Fittings/Spares and Parts List			5

Distribution Panel/Parts List				6

Cable/Miscellaneous List					7

Inspection & Test Certificates				8

Contract Drawings						9

S E C T I O N   O N E.

## Introduction.

GES ELECTRICAL LTD carried out the electrical installation at Stills Pharmacy.

This operation manual provides detailed information for maintenance engineers in the future for guidelines of replacement part and guidelines to maintenance.

No arbitrarily ruling can be given regarding the length of time to lapse between periodic inspection as obviously this depends on the client and the infrastructure of maintenance, security, site environmental and climate conditions. We as a company would recommend that the client implements a maintenance schedule to be carried out on a regular basis, experienced personnel in the electrical field should implement this and a form of record left in this file.

It should be noted that before carrying out any maintenance checks or adjustments of any electrical components, the equipment should be isolated and locked off from the source of electrical power supply.

For and on behalf of

GES ELECTRICAL LTD

S E C T I O N   T W O.

WARNING NOTES.

- Do not fit fuses and MCB of larger capacity than supplied within the electrical distribution panel or any fusible item.

- Make sure a full compliment of spare parts e.g. lamps for light fittings are always available, particularly parts most often replaced, and a record left.

- Maintenance should be carried out by experienced, qualified electrical personnel only and safe isolation procedures implemented at all times when works are being carried out.

- The cause of any circuit breaker to trip must be investigated and eliminated at all times

before the power be reapplied to any circuit.

S E C T I O N   T H R E E.

### Operating Instructions.

Electrical Distribution

- The main electrical distribution is situated in the basement level of the building. Scottish power cable head is situated to the left hand side of the main electrical panel’ with there 3-phase 4.5v main switch situated on the wall next to the mains panel, this switch if switched to the “OFF” position would isolate the main incoming power supply to the electrical installation within the building.

- Localised isolation of circuits can be done from the main electrical panel. All circuit breakers have a legend explaining a brief detail of its operation located to the centre of the panel. Each circuit breaker clearly states whether it is in the “ON” position or the “OFF” position for maintenance purposes circuit breakers should be locked off and labelled clearly that personnel are working on circuit, we recommend that a clear procedure be put in place by client to ensure that this is adhered to at all times and by Experienced electrical personnel only.

Lighting

- All light fittings are operated via localised switches in each room of building.

Emergency Lighting

- Next to each light switch an emergency light test switch is located this is for maintenance purposes only – please refer to emergency lighting section for a more detailed account of operation.

Power Socket Outlets

- All socket outlets are 240v 13amp 3-pin outlets, please note that all appliances should have correct fuse value installed and be certified portable appliance tested. All socket outlets have RCD protection.

Fire Alarm

- Fire Alarm System is a fully automated system, consisting of fire alarm panel situated at front entrance, combined sounder and smoke detection situated at the roof level and emergency break glasses situated at each exit/entrance to building.

Outside Lighting

1.   Outside lighting can be operated via switch in the main reception area located on side wall of I.T. cupboard.

S E C T I O N   F O U R.

Servicing.

SERVICING OF THE CONTROL GEAR, SWITCH GEAR, LIGHTING, FIRE ALARM SYSTEM – Should be carried out by Experience Personnel only.

- Inspect for loose connections, and tighten nuts, bolts, electrical connections, care should be taken when removing any covers, always make sure all exposed electrical connections have been isolated before carrying out any servicing.

- Examine all switches, control gear, distribution, and lighting socket outlets for signs of overheating or wear and tear, replace if necessary.

- Check all fuses have the correct rating and are in healthy condition.

- Log and report all servicing and list all new parts within this folder.

S E C T I O N   F I V E.

Light Fittings/Lamps

JCC JC50325 SURF SUSP BLADE EXIT SIGN

JCC JC50310 LEGEND 2 X DOWN RUNNING MAN

JCC JC50506 LED DOWNLIGHT RECSD 3W WHITE

AC8208 CAT 5E UTP 24 PORT RJ45 PANEL

LGA SE-BHLD-9 3HRM LED BULKHEAD 3W

600X600 LED PANELS

LUNAR 18W LED DECORATIVE BULKHEAD WHI/OP 1400LM, IP54, IK08 & 4000K

LED BULKHEAD EMERGENCY/MICROWAVE SENSOR 2D FITTING 16W FITTING IP54 WHITE BASE

SAXBY 73535 REEVE 2 LED DISPLAY 45W X 18

LGASE-BHLD-9 3HRM LED BULKHEAD 3W

LED EMERGENCY BULKHEAD 1.5HR LED EMERGENCY DO

CUDIS MH320C TP MCB 20A 10KA

LED BULKHEAD EMERGENCY/MICROWAVE SENSOR 2D FITTING 16W FITTING IP54 WHITE BASE

S E C T I O N    S I X.

Distribution Panels/Parts List

S E C T I O N    S E V E N.

Cable/Miscellaneous

ACEL AC77702 CHANNEL 41X21MMX3M SLOTTED

ACEL AC2403 AC2403 NUT & BOLT M6X25MM BZP

ACEL AC7777G PENNY WASHER M6

AC777635 M DUTY WRAPOVER COUPLERS PAIR

A2W 2MM WIRE (100M REEL)

KL/100 WIRE CLIPS

ACEL AC777632 CABLE TRAY MD 150MMX3M

CABLE 6243BH 1.5MMX100WHITE

CABLE 6243BH 2.5MMX100WHITE

ACEL AC76002 RND H/D CONDUIT 20MMX3M WHI

ACEL AC76036 STANDARD BEND 20MM WHI

ACEL AC76064 FEM THREAD ADAPTOR 20MM WHI

BG CMP9232 2G BOX PATRESS 32MM WHITE

BG CMP9132 1G BOX PATTRESS 32MM WHITE

ACEL AC1002 SOCKET 2G SWITCHED 13A WHI

ACEL AC11048 FRY LINING BOX 2G 35MM WHI

ACEL AC11047 DRY LINING BOX 1G 35MM WHI

ACEL AC2596 STRIP CONNECTOR 12 WAY 15A

ACEL AC2596 STRIP CONNECTOR BOX

ACEL AC2546 CABLE SLEEVING 4MM G/Y

ACEL AC76046 SPACER BAR SADDLE 20MM WHI

AC777403 CABLE TRUNKING 100X100MMX3M

ACEL AC777473 STOP END 100X100MM

ACEL AC7375 MALE BUSH LIGHTS 2IN BRASS

ACEL AC7364 LOCKRING 2UN SELF COLOUR

ACEL AC1012 CONNECTION UNIT SWD NEON 13A

ACEL AC1001 SOCKETS 1G SWITHCED 13A WHI

ACEL AC1023 PLATE SWITCH DP F/O NEON20AX

ACEL AC1013 PLATE SWITCH 1G 1 WAY WHI

ACEL AC1018 PLATE SWITCH1G TP WHI

ACEL AC1015 PLATE SWITCH 2G 2WAY WHI

ACEL AC11805 CONNECTION UNIT UNSWD 13A

ACEL AC3201 ROTART ISOLATOR ENC 4P 25A

COOPER CFEAPULL KIT DISABLED TOIL ALARM

ACEL AC76006 CIRC TERM BOX 1WAY 20MM WHI

SCEL AC76072 CIRCULAR LID 65MM WHI

AC1167 24HRMECHANICAL IMMERSION 16A

ACEL AC8215 1 GANG FACEPLATE 2 MOD

ACEL AC8206 25X50MM RJ45 CAT 5E MODUAL

CUDIS ROSB106C/030 1 MODULE RCBO 6A

CUDIS ROSB110C/030 1 MODULE RCBO 10ª

CUDIS ROSB116C/030 1 MODULE RCBO 16A

CTEC CFP702-2 FIRE PANEL 2 ZONE 2 WIRE

YSASA NP3.2-12 3.2AH 12V BATTERY

MCPIA MANUAL CALL POINT

PS200 MANUAL CALL POINT PLASTIC FLAP

55000-390APO OPTICAL SMOKE DETECTOR

45681-244APO ALARM SENSE BASE

55000-392APO OPTICAL SMOKE/SOUNDER BASE

55000-196APO HEAT DETECTOR/SOUNDER BASE

55000-835APO ALARM SENSE ALARM RELAY

CONTAC 3467MR CONN UNIT KEY SW NEON 13A

ACEL AC66100 100MM STANDARD FAN

ACEL AC66130 150MM STANDARD FAN

ACEL AC6179 DUCT 150MM X 6M

ACEL AC6178 DUCT 100MM X 15M

ACEL AC6177 DUCT 100MM X 6M

SNG PATRESS BOX

SNG FAST FIX BOX

CPN TYPE D 20A S/P MCB

GREENBROOK MECHANICAL TIMER 230V

CABLE 6944XLH 2.5MM 7/0.67 BLACK

ACEL AC2601 CBL/GLD 2 PK BW INDOORS 20MM

GREENBROOK T100 24 HOUR MECHANICAL TIMER

BG CMP9132 1G BOX PATTRESS 32MM WHITE

ACEL AC7376 MALE BUSH LONG 20MM BRASS

ACEL AC7356 LOCKRING 20MM SELF COLOURED

ACEL AC2540 CABLE SLEEVING 3MM G/Y

ACEL AC77776 PENNY WASHER M6

ACEL AC777473 STOP END 100X100MM

ACEL AC76006 CIRC TERM BOX 1WAY 20MM WHI

ACEL CIRCULAR LID 65MM WHI

ACEL AC76064 FEM THREAD ADAPTOR 20MM WHI

ACEL AC11048 DRY LINNING BOX 2G 35MM WHI

ACEL AC7920 U BOX 20MM GALVANISED

ACEL AC1012 CONNECTION UNIT SWD NEON 13A

ACEL AC1041 PATTRESS SURFACE 1G 25MM WHI

CUDIS ROSB120C/030 1 MODULE RCBO 20A

CONTAC 3467MR CONN UNIT KEY SW NEON 13A

CABLE 6242BH 2.5MMX100M WHITE

PRYS FP200G2C1.5 RED 100M

S  E C T I O N   E I G H T.

Inspection & Test Certificates

S E C T I O N   N I N E.

Contract Drawings